## Slide 1: Deep neural networks can automatically find regions of the chest in pediatric radiographs.
Critically ill patients need catheters & tubes (“lines”) to sustain life
  monitoring their placement is time-consuming & labor-intensive
Goal: automate with deep learning
  segment chest into regions
  find & classify lines
  determine if in correct location
METHODS
RESULTS: Model Performance
Categorical cross-entropy loss + data augmentation provided best results
  pixel weights gave small improvement
  : 0.832, : 0.938
REFERENCES
Ronneberger, Olaf, Philipp Fischer, and Thomas Brox. "U-net: Convolutional networks for biomedical image segmentation." International Conference on Medical image computing and computer-assisted intervention. Springer, Cham, 2015.
Crum, William R., Oscar Camara, and Derek LG Hill. "Generalized overlap measures for evaluation and validation in medical image analysis." IEEE transactions on medical imaging 25.11 (2006): 1451-1461.
Automatic Segmentation of Chest Radiographs with Deep Learning
Greg Holste1, Ryan Sullivan2, Nick Nagy3, Mike Bindschadler3, Adam Alessio4
1Kenyon College, 2Purdue University, 3University of Washington, 4Michigan State University
RESULTS: Predictions
Take a picture to see more predictions.
Figure 4. Mean Dice coefficient on test set (n=70) by loss function (left) and box-and-whisker plot of Dice coefficients by class for the best model (right). “*” = with data augmentation, “cce” = categorical cross-entropy, “gdl” = generalized Dice loss, “w<no.>” = with pre-computed pixel weights from method <no.>.
Figure 3. Best-performing model’s predictions for three radiographs that it has not been trained on. Pixel accuracy, Dice coefficient, and intersection over union (IoU) appear as x-axis labels on the left, middle, and right subplots respectively.
Figure 2. U-Net model architecture (Ronneberger et al. 2015). Each blue box is a feature map, with height and width in the lower left and depth on top. While the feature dimensions do not exactly match those of our model, the red “8” represents that we adapted this architecture to predict eight output classes.
ACKNOWLEDGMENTS
We acknowledge support from the iCER ACRES REU at MSU, which is funded by the National Science Foundation through grant 1560168.
Figure 1. Two typical pediatric radiographs with lines marked by red arrows.
BACKGROUND
Trained U-Net on 300+ labeled radiographs
  tested loss functions, weighting schemes, & data augmentation
FUTURE WORK
Train on higher-resolution images
Obtain more, higher-quality labels
  or… more aggressive augmentation
Ensure predictions are biologically sound
  guarantee single instance of each class
  prohibit disconnected regions
Combine with line detector
versus
Categorical cross-entropy:
Generalized Dice loss:
  n = pixel, c = class
  yn,c = 1 if pixel n belongs to class c, otherwise 0
  pn,c = probability that pixel n belongs to class c
  wn = pre-computed “weight” of pixel n
    1 if unweighted
Loss Function | Dice
w2-cce* | 0.832
w3-cce* | 0.83
w1-cce* | 0.829
cce + gdl* | 0.828
cce* | 0.828
w2-cce | 0.825
cce + gdl | 0.821
w3-cce | 0.82
cce | 0.815
w1-cce | 0.814
w3-gdl | 0.788
w1-gdl | 0.787
gdl | 0.784
w2-gdl | 0.783
8
Notes: Future work: train on larger resolution images, more aggressive augmentation, more sophisticated weighting scheme, combine w/ line detector …